**8 May 2024 Mission Data**

Sonde 1: water temperature 14.0°C

Sonde 2: water temperature 10.9°C – sensor was in sun more just before launch

Sonde 3: water temperature 10.3°C – kept sensor in shade before launch

Sonde 4: water temperature 10.3°C – no data, launched wrong sonde

Sonde 5: water temperature 7.6°C – last sonde for which we manually set surface pressure; after this one, all set by sonde itself (but still setting launch altitude to 190 m ASL)

Sonde 6: water temperature 8.1°C – a little warmer despite being in place…

Sonde 7: water temperature 10.9°C – warmer than sonde 4 at same location

Sonde 8: water temperature 10.9°C

Sonde 9: water temperature 10.9°C – a bit of sun exposure just before launch

Sonde 10: water temperature 11.2°C – a bit of sun exposure just before launch

Sonde 11: water temperature 12.4°C – kept in shelter of wet lab until launch

Sonde 12: water temperature 14.3°C – fell from 15.0°C while on station

Had to skip two sondes at 1240 and 1340 from station 3 due to lack of balloons.